Annual Drinking Water Quality Report East Duchesne Culinary Water Improvement District 2025

The East Duchesne Culinary Water Improvement District is pleased to present to you, our customer, with the most current Drinking Water Quality report. This report is designed to inform you about the quality of the water and services we deliver to you every day. Our constant goal is to provide you with a safe and dependable supply of drinking water. If you have any questions about this report or concerning your water utility, please contact Josh Byrnes (435) 823-0736. We want our valued customers to be informed about their water utility. If you want to learn more, please attend any of our regularly scheduled meetings. They are held on Every second Wednesday of the month at 7:00 pm (for location please call Joann Evans 435-738-2000 10:00 am to 2:00 pm Mon-Fri)

The East Duchesne Culinary Water Improvement District provides its consumers with surface water. Our water sources are listed as Central Utah Water Conservancy District UTAH07050, and Duchesne County Water Conservancy District UTAH07069.

Corrosion of pipes, plumbing fittings and fixtures may cause metals, including lead and copper, to enter drinking water. To assess corrosion of lead and copper, East Duchesne Culinary Water Improvement Distrct conducts tap sampling for lead and copper at 10 selected sites every 3 years.

The East Duchesne Culinary Water Improvement District has completed an initial lead service line inventory. This inventory includes information on the service line material that connects water mains to buildings/houses. These inventory reports are publicly available and can be accessed by calling Josh Byrnes (435)823-0736 or Email josh@eastduchesnewater.gov

The Drinking Water Source Protection Plan for East Duchesne Culinary Water Improvement District is available for your review.  It contains information about source protection zones, potential contamination sources and management strategies to protect our drinking water.  Our sources have been determined to have a low level of susceptibility from potential contamination sources.  such as  We have also developed management strategies to further protect our sources from contamination.  Please contact us if you have questions or concerns about our source protection plan.

There are many connections to our water distribution system.  When connections are properly installed and maintained, the concerns are very minimal.  However, unapproved and improper piping changes or connections can adversely affect not only the availability, but also the quality of the water.  A cross connection may let polluted water or even chemicals mingle into the water supply system when not properly protected.  This not only compromises the water quality but can also affect your health.  So, what can you do?  Do not make or allow improper connections at your homes.  Even that unprotected garden hose lying in the puddle next to the driveway is a cross connection.  The unprotected lawn sprinkler system after you have fertilized or sprayed is also a cross connection.  When the cross connection is allowed to exist at your home, it will affect you and your family first.  If you’d like to learn more about helping to protect the quality of our water, call us for further information about ways you can help.

East Duchesne Cuinary Water Improvement District routinely monitors contaminants in our drinking water in accordance with the Federal and Utah State laws. The following table shows the results of our monitoring for 2025. It is important to remember that all water sources of drinking water contain some naturally occurring contaminants. At low levels, these substances are generally not harmful in our drinking water. Removing all contaminants would be extremely expensive, and in most cases, would not provide increased protection of public health.

In the following table you will find many terms and abbreviations you might not be familiar with. To help you better understand these terms we've provided the following definitions:

Non-Detects (ND) - laboratory analysis indicates that the constituent is not present.

ND/Low - High - For water systems that have multiple sources of water, the Utah Division of Drinking Water has given water systems the option of listing the test results of the constituents in one table, instead of multiple tables. To accomplish this, the lowest and highest values detected in the multiple sources are recorded in the same space in the report table.

Parts per million (ppm) or Milligrams per liter (mg/l) - one part per million corresponds to one minute in two years or a single penny in $10,000.

Parts per billion (ppb) or Micrograms per liter (ug/l) - one part per billion corresponds to one minute in 2,000 years, or a single penny in $10,000,000.

Parts per trillion (ppt) or Nanograms per liter (nanograms/l) - one part per trillion corresponds to one minute in 2,000,000 years, or a single penny in $10,000,000,000.

Parts per quadrillion (ppq) or Picograms per liter (picograms/l) - one part per quadrillion corresponds to one minute in 2,000,000,000 years or one penny in $10,000,000,000,000.

Picocuries per liter (pCi/L) - picocuries per liter is a measure of the radioactivity in water.

Millirems per year (mrem/yr) - measure of radiation absorbed by the body.

Million Fibers per Liter (MFL) - million fibers per liter is a measure of the presence of asbestos fibers that are longer than 10 micrometers.

Nephelometric Turbidity Unit (NTU) - nephelometric turbidity unit is a measure of the clarity of water. Turbidity in excess of 5 NTU is just noticeable to the average person.

Action Level (AL) - the concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

Treatment Technique (TT) - A treatment technique is a required process intended to reduce the level of a contaminant in drinking water.

Maximum Contaminant Level (MCL) - The “Maximum Allowed” (MCL) is the highest level of a contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

Maximum Contaminant Level Goal (MCLG) - The “Goal” (MCLG) is the level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

Maximum Residual Disinfectant Level (MRDL) - The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

Maximum Residual Disinfectant Level Goal (MRDLG) - The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.

Date- Because of required sampling time frames i.e. yearly, 3 years, 4 years and 6 years, sampling dates may seem outdated.

Waivers (W)- Because some chemicals are not used or stored in areas around drinking water sources, some water systems have been given waivers that exempt them from having to take certain chemical samples, these waivers are also tied to Drinking Water Source Protection Plans.

| TEST RESULTS |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminant | Violation Y/N | Level Detected ND/Low-High | Unit Measurement | MCLG | MCL | Date Sampled | Likely Source of Contamination |
| Microbiological Contaminants |  |  |  |  |  |  |  |
| Total Coliform Bacteria | N | ND | N/A | 0 | Presence of coliform bacteria in 5% of monthly samples | 2025 | Naturally present in the environment |
| Fecal coliform and E.coli | N | ND | N/A | 0 | If a routine sample and repeat sample are total coliform positive, and one is also fecal coliform or E. coli positive | 2025 | Human and animal fecal waste |
| Turbidity for Surface Water | N | 0.014/0.045 | ###### NTU | ###### N/A | 0.5 in at least 95% of the samples and must never exceed 5.0 | 2025 | Soil Runoff (highest single measurement & the lowest monthly percentage of samples meeting the turbidity limits) |
| Inorganic Contaminants |  |  |  |  |  |  |  |
| Antimony | N | ND | ppb | 0.006 | 0.006 | 2025 | Discharge from petroleum refineries; fire retardants; ceramics; electronics; solder |
| Arsenic | N | 0.0008 | ppb | 0 | 0.01 | 2025 | Erosion of natural deposits; runoff from orchards; runoff from glass and electronics production wastes |
| Barium | N | 0.078/0.078 | ppb | 2 | 2 | 2025 | Discharge of drilling wastes; discharge from metal refineries; erosion of natural deposits |
| Cadmium | N | ND | ppb | 0.005 | 0.005 | 2025 | Corrosion of galvanized pipes; erosion of natural deposits; discharge from metal refineries; runoff from waste batteries and paints |
| Carbon, Total Organic (TOC) | N | 2.0/2.7 | ppm | ND | TT | 2025 | Naturally present in the environment |
| Chromium | N | ND | ppb | 0.1 | 0.1 | 2025 | Discharge from steel and pulp mills; erosion of natural deposits |
| Cyanide | N | ND | ppb | 0.2 | 0.2 | 2025 | Discharge from steel/metal factories; discharge from plastic and fertilizer factories |
| Fluoride | N | 0.186/0.186 | ppb | 4 | 4 | 2025 | Erosion of natural deposits; water additive which promotes strong teeth; discharge from fertilizer and aluminum factories |
| Mercury (inorganic) | N | ND | ppb | 0.002 | 0.002 | 2025 | Erosion of natural deposits; discharge from refineries and factories; runoff from landfills; runoff from cropland |
| Nitrate (as Nitrogen) | N | ND | ppm | 10 | 10 | 2025 | Runoff from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits |
| Selenium | N | 0.0006 | ppb | 0.005 | 0.005 | 2025 | Discharge from petroleum and metal refineries; erosion of natural deposits; discharge from mines |
| Sulfate | N | 84 | ppm | 1000 | 1000 | 2025 | Erosion of natural deposits; discharge from refineries and factories; runoff from landfills, runoff from cropland |
| If the sulfate level of a public water system is greater than 500 ppm, the supplier must satisfactorily demonstrate that: a) no better water is available, and b) the water shall not be available for human consumption from commercial establishments. In no case shall water having a level above 1000 ppm be used. |  |  |  |  |  |  |  |
| TDS (Total Dissolved solids) | N | 84 | ppm | 2000 | 2000 | 2025 | Erosion of natural deposits |
| If TDS is greater than 1000 ppm the supplier shall demonstrate to the Utah Drinking Water Board that no better water is available. The Board shall not allow the use of an inferior source of water if a better source is available. |  |  |  |  |  |  |  |
| Thallium | N | ND | ppb | 0.0005 | 0.002 | 2025 | Leaching from ore-processing sites; discharged from electronics, glass, and drug factories |
| Disinfection By-products |  |  |  |  |  |  |  |
| TTHM [Total trihalomethanes] | N | 0.03/91.2 | ppb | 0 | 80 | 2025 | By-product of drinking water disinfection |
| Haloacetic Acids | N | 0.021/37.4 | ppb | 0 | 60 | 2025 | By-product of drinking water disinfection |
| Chlorine | N | 0.03/1.8 | ppb | 4 | 4 | 2025 | Water additive used to control microbes |
| Radioactive Contaminants |  |  |  |  |  |  |  |
| Alpha, Gross | N | 0.5/0.5 | pCi/1 | 0 | 15 | 2025 | Erosion of natural deposits |
| Beta, Gross | N | 1.1/1.1 | pCi/1 | 0 | 4 | 2025 | Erosion of natural deposits |
| Radium 228 | N | 0.23/0.23 | pCi/1 | 0 | 5 | 2025 | Erosion of natural deposits |
| Synthetic Organic Contaminants, Pesticides and Herbicides |  |  |  |  |  |  |  |
| 2,4,5-TP (Silvex) | N | ND | ppb | 0.05 | 0.05 | 2025 | Residue of banned herbicide |
| Dalapon | N | ND | ppb | 0.2 | 0.2 | 2025 | Runoff from herbicide used on rights of way |
| Dinoseb | N | ND | ppb | 0.007 | 0.007 | 2025 | Runoff from herbicide used on soybeans and vegetables |
| Endrin | N | ND | ppb | 0.002 | 0.002 | 2025 | Residue of banned insecticide |
| Heptachlor | N | ND | ppt | 0 | 0.0004 | 2025 | Residue of banned termiticide |
| Heptachlor epoxide | N | ND | ppt | 0 | 0.0002 | 2025 | Breakdown of heptachlor |
| Lindane | N | ND | ppt | 0.0002 | 0.0002 | 2025 | Runoff/leaching from insecticide used on cattle, lumber, gardens |
| Methoxychlor | N | ND | ppb | 0.04 | 0.04 | 2025 | Runoff/leaching from insecticide used on fruits, vegetables, alfalfa, livestock |
| PCBs [Polychlorinated biphenyls] | N | ND | ppt | 0 | 0.0005 | 2025 | Runoff from landfills; discharge of waste chemicals |
| Pentachlorophenol | N | ND | ppb | 0 | 0.001 | 2025 | Discharge from wood preserving factories |
| Toxaphene | N | ND | ppb | 0 | 0.003 | 2025 | Runoff/leaching from insecticide used on cotton and cattle |
| Benzene | N | ND | ppb | 0 | 0.005 | 2025 | Discharge from factories; leaching from gas storage tanks and landfills |
| Carbon tetrachloride | N | ND | ppb | 0 | 0.005 | 2025 | Discharge from chemical plants and other industrial activities |
| Chlorobenzene | N | ND | ppb | 0.1 | 0.1 | 2025 | Discharge from chemical and agricultural chemical factories |
| Chloroform | n | 0.012/0.037 | ppb | NE | 80 | 2025 | By-product of drinking water disinfection |
| Ethylbenzene | N | ND | ppb | 0.7 | 0.7 | 2025 | Discharge from petroleum refineries |
| Styrene | N | ND | ppb | 0.1 | 0.1 | 2025 | Discharge from rubber and plastic factories; leaching from landfills |
| 1,1,1 - Trichloroethane | N | ND | ppb | 0 | 0.005 | 2025 | Discharge from metal degreasing sites and other factories |
| Toluene | N | ND | ppb | 1 | 1 | 2025 | Discharge from petroleum factories |
| Vinyl Chloride | N | ND | ppb | 0 | 0.002 | 2025 | Leaching from PVC piping; discharge from plastics factories |
| Xylenes | N | ND | ppb | 10 | 10 | 2025 | Discharge from petroleum factories; discharge from chemical factories |

Why are there contaminants in my drinking water?

Drinking water, including bottled water, may reasonably be expected to contain at least a small amount of some contaminates. The presence of contaminants does not necessarily indicate that the water poses a health risk. More information about contaminates and the potential health effects can be obtained by calling the Environmental protection Agency’s (EPA) Safe Drinking Water Hotline at (800-426-4791). The sources of drinking water (both tap and bottled water) include rivers, lakes, streams, reservoirs, springs and wells. As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity: microbial contaminates, such as viruses and bacteria, that may come from sewage treatment plants, septic systems, agricultural livestock operations and wildlife; inorganic contaminants, such as salts and metals, which can be naturally occurring or result from urban stormwater runoff, industrial, or domestic wastewater discharges, oil and gas production, mining, or farming; pesticides and herbicides, which may come from a variety of sources such as agricultural, urban stormwater runoff, and residential uses; organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, and septic systems; and radioactive contaminants, which can be naturally occurring or be the result of oil and gas production and mining activities. In order to ensure that tap water is safe to drink, EPA prescribes regulations that limit the amount of certain contaminants in water provided by public water systems. Food and Drug Administration (FDA) regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

If present, lead can cause serious health problems, especially for pregnant women and young children.  East Duchesne Culinary Water Improvement District has conducted 10 lead samples during 6/19/25.  Sampling results can be obtained by calling (435) 823-0736 or emailing josh@eastduchesnewater.gov.

East Duchesne Culinary Water Improvement District is responsible for providing high quality drinking water but cannot control the variety of materials used in plumbing components. Lead in drinking water is primarily from material and components associated with service lines and home plumbing. You share the responsibility for protecting yourself and your family from the lead in your home plumbing. You can take responsibility by identifying and removing lead materials within your home plumbing and taking steps to reduce your family's risk. If your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. You can also use a filter certified by an American National Standards Institute accredited certifier to reduce lead in drinking water. Lead in drinking water is rarely the sole cause of lead poisoning, but it can add to a person's total lead exposure. All potential sources of lead in the household should be identified and removed, replaced or reduced. If you are concerned about lead in your water, you may wish to have your water tested. Please contact East Duchesne Culinary Water Improvement District (435) 738-2000.  Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available at http://www.epa.gov/safewater/lead.

Some people may be more vulnerable to contaminants in drinking water than the general population. Immunocompromised people such as people with cancer undergoing chemotherapy, people who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice from their health care providers about drinking water. EPA/CDC guidelines on appropriate means to lessen the risk of infection by cryptosporidium and other microbiological contaminants are available from the Safe Drinking Water Hotline (800-426-4791).

We at East Duchesne Culinary Water Improvement District work around the clock to provide top quality water to every tap.  We ask that all our customers help us protect our water sources, which are the heart of our community, our way of life and our children’s future.

nausea, cramps, diarrhea, and associated headaches. We have reviewed why we failed to take our turbidity samples and have taken steps to ensure that it will not happen again.